## BOM
Bid Sheet - RFQ
QTY | Unit of Measure | DESCRIPTION | NOTES | MANUFACTURER | Part Number | Vendor To List Manufacturer Brand and Part Number Being Quoted | Unit Cost for delivery by 6/17/24 | Total Cost for delivery by 6/17/24 | Lead Time | Unit Cost for bidders optimum delivery date. | Total Cost for bidders optimum delivery date. | Optimum Delivery Date | Lead Time
2 | EACH | DOUBLE END BREAK SWITCH, STAND MOUNTED FOR LOW BUS, 161kV, 2000A. 80" PAD TO BASE (MANUAL) | SW 114, 115 | ROYAL | DEB16120STD |  |  | 0 |  |  | 0
3 | EACH | STEEL SINGLE PHASE, CCVT STRUCTURE, 161kV 8'-0", W/ANCHOR BOLTS, NUTS, WASHERS & TEMPLATES | 138 kV CCVTS |  |  |  |  | 0 |  |  | 0
2 | EACH | STEEL THREE PHASE, DOUBLE END BREAK SWITCH STAND, 161kV 16'-0" BUS HEIGHT, W/ ANCHOR BOLTS, NUTS, WASHERS & MOUNTING PLATES | 161 kV Double End Break Switch Stands |  |  |  |  | 0 |  |  | 0
240 | FOOT | 1272 AAC, 61 STRAND, 1347 AMPS, NARCISSUS | [5 empty] | 0 |  |  | 0
120 | FOOT | 4/0 AAC, 7 STRAND, 423 AMPS, OXLIP | [5 empty] | 0 |  |  | 0
120 | FOOT | TUBING BUS, ALUMINUM, 4" IPS X 20FT, SCHEDULE 40 (6063-T6) | [5 empty] | 0 |  |  | 0
1 | EACH | 138kV Line Panel - 2 SEL 311L, 1 SEL 351S, 5 FT-19R, 3 Electroswitch Lockouts, 1 31LSR, GE SBM Switch, Coverplates: 8-1RU, 1-5RU, 2-7RU | Brands called out in description are NO SUB |  |  |  |  | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
[8 empty] | 0 |  |  | 0
This color represents product that does not have a suggested manufacuturer. Bidder can choose vendor.
This color represents product that has a GRDA preferred vendor, but we are open to equivalents with spec sheet provided
This color represents prodcut that is Sole Brand (NO SUB)