## Bill of Material
Bid Sheet - RFQ 2051
QTY | Unit of Measure | DESCRIPTION | MANUFACTURER | Vendor To List Manufacturer Brand and Part Number Being Quoted | Unit Cost for delivery by 1/31/2025 | Total Cost for delivery by 1/31/2025 | Lead Time | Unit Cost for bidders optimum delivery date. | Total Cost for bidders optimum delivery date. | Optimum Delivery Date | Lead Time
1 | EACH | SEL-351S CIRCUIT BREAKER CONTROL RELAY SYSTEM, HORIZONTAL PANEL MOUNT, 3RU, ADDITIONAL I/O, INDOOR PUSH BUTTONS, SECONDARY CURRENT INPUT 5 AMP PHASE AND 5 AMP NEUTRAL, CONTROL INPUT 125VDC | SCHWEITZER ENGINEERING LABORATORIES (SEL) | SEL PART #: 0351S6X3D3E5421 S#: 351S#P9X9 |  | 0 |  |  | 0
2 | EACH | SEL-311L LINE CURRENT DIFFERENTIAL RELAY SYSTEM, HORIZONTAL PANEL MOUNT, 3RU, SECONDARY INPUT CURRENT 5 AMP PHASE AND POLARIZING CURRENT, CONTROL INPUT 125VDC, (2) DB-25 CONNECTORS FOR 1300NM FIBER | SCHWEITZER ENGINEERING LABORATORIES (SEL) | SEL PART #: 0311L13DD3254XXXX S#: 311L#5J6H |  | 0 |  |  | 0
2 | EACH | SEL-2829 SINGLE-MODE FIBER OPTIC TRANSCEIVER / MODEM (MALE) | SCHWEITZER ENGINEERING LABORATORIES (SEL) | SEL S#: 2829MX0 |  | 0 |  |  | 0
4 | EACH | RS232/CABLE, SEL C273A TO RTU, 50 FEET LONG EACH | SCHWEITZER ENGINEERING LABORATORIES (SEL) | SEL PART #: C273A-050 S#: C273A#MCK6 |  | 0 |  |  | 0
3 | EACH | ABB TYPE FT-19R TEST SWITCH ASSEMBLY [(1) 4 POTENTIAL, 6 CURRENT, (2) 10 POTENTIAL], 2RU, GRAY ANSI 70 SMOOTH SURFACE STEEL, INDIVIDUAL BLACK COVERS, FLAT PANEL MOUNT | ABB | ABB, S#FR2H-014-001-001BF (STYLE NO. FR2H014001001BF) |  | 0 |  |  | 0
2 | EACH | ABB TYPE FT-19R TEST SWITCH ASSEMBLY [(3) 10 POTENTIAL], 2RU, GRAY ANSI 70 SMOOTH SURFACE STEEL, INDIVIDUAL BLACK COVERS, FLAT PANEL MOUNT | ABB | ABB, S#FR2H-001-001-001BF (STYLE NO. FR2H001001001BF) |  | 0 |  |  | 0
1 | EACH | ABB TYPE FT-19R TEST SWITCH ASSEMBLY [(3) 10 POTENTIAL], 2RU, GRAY ANSI 70 SMOOTH SURFACE STEEL, INDIVIDUAL BLACK COVERS, RACK MOUNT | ABB | ABB, S#FR2H-001-001-001B (STYLE NO. FR2H001001001B) |  | 0 |  |  | 0
5 | EACH | ELECTROSWITCH, SERIES 24 AUXILIARY TRIPPING RELAY, 125VDC, 8 DECK, MANUAL RESET LOR, WITH LIGHTS | ELECTROSWITCH | ELECTROSWITCH, S#78PB08D |  | 0 |  |  | 0
4 | EACH | ELECTROSWITCH 31LSR, 125VDC, ENGRAVED, "DTT ON OFF" | ELECTROSWITCH | ELECTROSWITCH, S#9303QB |  | 0 |  |  | 0
2 | EACH | MARATHON #F30A2S FUSE BLOCK WITH TYPE NON-6 AMP FUSES | MARATHON | MARATHON, S#F30A2S |  | 0 |  |  | 0
4 | EACH | MARATHON #F30A2S FUSE BLOCK WITH TYPE NON-10 AMP FUSES | MARATHON | MARATHON, S#F30A2S |  | 0 |  |  | 0
4 | EACH | MARATHON #F30A3S FUSE BLOCK WITH TYPE NON-6 AMP FUSES | MARATHON | MARATHON, S#F30A3S |  | 0 |  |  | 0
4 | EACH | DTT TEST, GE SBM CONTROL AND TRANSFER SWITCH, 1 STAGE, 2 POSITION, OVAL HANDLE | GENERAL ELECTRIC | GENERAL ELECTRIC S#16SBMA2A02S3A2V1 |  | 0 |  |  | 0
[5 empty] | Total Bid Amount - To Bid Express | 0 |  | Total Bid Amount - To Bid Express | 0
This color represents product that does not have a suggested manufacuturer. Bidder can choose vendor.
This color represents product that has a GRDA preferred vendor, but we are open to equivalents. Bidder will need to provide product specification for review.
This color represents prodcut that is Sole Brand (NO SUB)