|  |  |  |  |
| --- | --- | --- | --- |
| Date of Issuance: | 10/29/2024 | 1Solicitation No. | RFQ 2052 REBID |
| Purchase Request No. | 4752 | Clarification or Amendment No. | 1 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Solicitation due date and hours of offers is changed: | No | Yes, to: | 11/15/2024 @ 2:00 PM | CST/CDT |

This document shall serve as official notice of 2Clarification or 3Amendment to the Solicitation identified above. Such notice is being provided to all vendors to which the original solicitation was sent. When a change(s) made to the solicitation materially impact a priced offer by vendors, vendors are to ensure that priced offer is accurate and reflects a change(s) identified in the amendment.

**ISSUED BY:**

|  |  |  |  |
| --- | --- | --- | --- |
|  | | | Paul Proctor |
| Grand River Dam Authority | | | Contracting and Acquisitions Agent |
| Purchasing Unit |  |  | 918-500-0198 |
| PO Box 669 | | | Phone Number |
| Chouteau, OK 74337 | | | paul.proctor@grda.com |
|  | | | E-Mail Address |

**Description of Amendment or Clarification:**

1. This is to incorporate the following (this box expands based on size of text):

|  |
| --- |
| The bid due date has been extended to 11/15/24 @ 2:00 PM CST. The Q&A deadline has been extended to 11/13/24 @ 2:00 PM CST.  We received some questions which needed to be addressed via an amendment. Please see below:   1. Are any of the generators classified as “Life Safety”? If so, this will require every third year to have a documented 4-Hr Load Bank Run.   It is our understanding that NFPA best practice recommendation does not have a requirement for level 1 “Life Safety”. All sites should be considered level 2 with annual load banks.   1. The Onans on the repeater sites, are we quoting them with them being Onans or as the Generacs?   We have both. At this time most are Onans, but we are working on switching these over to the smaller Generacs. This will likely take a few years to complete, however.   1. Can a sight visit be scheduled to gather engine & filter information?   Please see the attached pictures of the provided units. Hopefully this is sufficient to provide the needed information. If a site visit is still desired, GRDA will need to schedule an open date & time for all vendors to be able to attend at the same time in order to maintain a fair competitive bid process. Please let us know if a site visit is still needed.   1. Do you have addresses for the locations?   We do not have addresses available, however we can provide a Google Earth link which includes pins with GPS coordinates to all of the sites. Please see below. |

1. All other terms and conditions remain unchanged.