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	6110A INITIAL INTERCONNECTION REQUEST NOTIFICATION FORM

	
	Version Number: 4.0
	Version Date: 78/301/2026
	Effective Date: 8/1/2026




1.0 Purpose

To be used in conjunction with the steps and parameters listed within the 6110 Facility Interconnection Requirements.  It is to be completed by the Owner of a Proposed Facility Interconnecting with the Grand River Dam Authority.

2.0 General Information

	Company Name 
	

	Company Adress
	

	Primary Contact
	

	Phone number
	

	Email Address
	

	Primary Contact Signature (dated)
	



3.0 Interconnection Information

	GENERATION Interconnection
[FAC-001-4 R1] [FAC-001-4 R1.1]
	The Generator owner shall coordinate and cooperate with GRDA to provide the general location, generation capacity, type of generation, interconnect voltage, and projected in-service date to GRDA. 

	Location
	

	Generation Capacity (mVA)
	

	Type of Generation
	

	Interconnect Voltage (kV)
	

	Projected In-Service Date
	





	TRANSMISSION Interconnection
[FAC-001-4 R1] [FAC-001-4 R1.2]
	The Transmission Facility owner shall coordinate and cooperate with GRDA to provide the general location of the proposed interconnection, the interconnect voltage, the reason for the interconnection, the requested capacity of the interconnection, and projected in-service date to GRDA

	Location
	

	Interconnect Voltage (kV)
	

	Reason for Interconnection
	

	Capacity of Interconnection (mVA)
	

	Projected In-Service Date
	






	
End-User Facility Interconnect
[FAC-001-4 R1] [FAC-001-4 R1.3]
	The End-User customer shall coordinate and cooperate with GRDA to provide the general location of the proposed connection, the required voltage, the requested capacity of the interconnection, the expected load factor or an indication of the load profile of the customer, and projected in-service date to GRDA.

	Distribution Voltage Level, Transmission Voltage Level, or Transmission Voltage Level with Service from Third Party?
	




	Service Location
	


	Service Voltage Level (kV)
	


	Capacity of Interconnection (mVA or kW)
	


	Load Factor (Percentage, or include indication of expected load profile)
	

	Projected In-Service Date
	





4.0 Form Submission

	
Return Form to:

	GRDA Director, Power Systems Engineering

	9933 E. 16th St.

	Tulsa, OK 74128

	
Phone: 918-610-9669

	Email: Steven.kroll@grda.com


	




5.0 Document Control/ Revision History

	[bookmark: _Toc317576829][bookmark: _Toc317576830]REVISION HISTORY
GRDA Internal Compliance Program

	Version
	Brief Description of Changes Made:
	Date
	Last Name(s)

	3.00
	No data fields modified; reformatted to be consistent with other GRDA NERC related forms; Revision History section added to track changes.
	10/01/2024
	Kroll/Van Natta

	4.0
	Changed form’s submission contact name and phone number.
	78/301/2026
	Kroll 
/McIntire
/Parks
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