# Purpose

To be used in conjunction with the steps and parameters listed within the 6110 Facility Interconnection Requirements. It is to be completed by the Owner or Owner’s representative of a proposed new or modified interconnecting load to the Grand River Dam Authority facilities.

[FAC-001-4 R1] [FAC-001-4 R1.3]

# General Information

Depending on the voltage, type and size of the new or modified interconnecting load, SPP requires specific data to be submitted for study consideration.

# All Additions or Modifications

# All new or modified interconnecting load to GRDA facilities require the following documents to be prepared and submitted to GRDA (do not submit directly to SPP)

- 6110C Load Ramp Table

# SPP’s Attachment AQ Addendum 1 form for the SPP Delivery Point Assessment Process as referenced in the SPP OATT. Latest version can be located at the SPP OASIS Portal, on the Studies tab.

# Determination of a HILL (High Impact Large Load)

If the new or modified interconnecting load to GRDA facilities meets the following criteria:

- 10 MW or more connected at 69kV or below, or

- 50 MW or more connected above 69kV

- Power-electronic loads (e.g. data centers, AI training campuses, cryptocurrency mining facilities, and large industrial plants – electronic storage resources are excluded from the definition)

then it is considered a HILL by the SPP OATT and will require the following additional attachments to prepared and submitted to GRDA (do not submit directly to SPP)

- SPP’s Additional HILL Characteristics Form. Location noted in SPP Attachment AQ Addendum 1 Form.

- Dynamic model file PERC1 (Power Electronic Reconnecting and Ceasing) load model

## Insufficient Designated Resources

If the Designated Resources to meet the load do not exist or are insufficient, the following document may be required for submission to GRDA in lieu of the SPP Attachment AQ Addendum 1.

- SPP’s Attachment AX Addendum 1 form as referenced in the SPP OATT. Latest version can be located at the SPP OASIS Portal, on the Studies tab.

# Requestor Contact

| Name |  |  |
| --- | --- | --- |
| Title |  |  |
| Company |  |  |
| Mailing Address |  |  |
| Email Address |  |  |
| Phone No. |  |  |

# GRDA Point of Contact

## Return forms and all associated data to

## GRDA Director, Power Systems Engineering

## 9933 E. 16th St.

## Tulsa, OK 74128

## Phone: 918-610-9669

# Email: Steven.kroll@grda.com

# Document Control

## Revision History

| REVISION HISTORY GRDA Internal Compliance Program |  |  |  |  |
| --- | --- | --- | --- | --- |
| Version | Brief Description of Changes Made: | Date | Last Name(s) |  |
| 3.00 | No data fields modified; reformatted to be consistent with other GRDA NERC related forms; Revision History section added to track changes. | 10/01/2024 | Kroll/Van Natta |  |
| 4.0 | Replaced copied data from SPP previous document in order to embed the multiple data pieces SPP now required for various transmission load connection requests. | 8/1/2026 | Kroll /McIntire /Parks |  |